- PURPOSE:

To lay down the procedure for Management of Open Lab Software.

- SCOPE:

This procedure is applicable for Ezchrome Elite Open Lab software.

- RESPONSIBILITY:

  - Analyst-QC is responsible to follow this SOP.

  - Head-QC/Designee is responsible for ensuring implementation of this SOP.

  - Head-QA/Designee is responsible for monitoring overall compliance of this SOP.

- DEFINITION: Nil

- PROCEDURE:

  - All instruments / equipments that are controlled by software and connected with computer systems shall be accessed through user account and password.

  - Such instruments / equipments shall be accessed by the user with user ID and password provided for them.

  - The Manager/in charge shall be responsible to create the new project every month.

  - The following USER types (4 Levels) are available:

    - Analyst

    - Reviewer

    - Asst. Manager / Manager / Sr. Manager

    - Administrator

  - The following ROLES (6 roles) are available in Open Lab software:

    - Everything

    - System administrator

    - Instrument administrator

    - Project administrator

    - Instrument user

    - EZChrome analyst

  - Roles screen shots are mention below:

  - User types and allotted Role Membership as given below:

| User Type | Allotted Role Membership |
| --- | --- |
| Analyst | Instrument User EZ Chrom Analyst |
| Reviewer | Project Administrator Instrument User EZ Chrom Analyst |
| Asst. Manager / Manager / Sr. Manager | System Administrator Instrument Administrator Project Administrator Instrument User EZ Chrom Analyst |
| Administrator | Everything |

  - Allotted Role Membership given below:

    - Analyst

    - Reviewer

    - Asst. Manager / Manager / Sr. Manager

    - Administrator

  - Users privileges as given below:

| Privilege | Analyst | Reviewer | Manager | Admin |
| --- | --- | --- | --- | --- |
| View instrument or location |  |  |  |  |
| Manage instrument or location |  |  |  |  |
| Manage instrument or location access |  |  |  |  |
| Run instrument |  |  |  |  |
| Service instrument |  |  |  |  |
| View project or project group |  |  |  |  |
| Manage project or project group |  |  |  |  |
| Edit content of project |  |  |  |  |
| Manage project or project group access |  |  |  |  |
| Manage printers |  |  |  |  |
| Edit activity log properties | × | × | × |  |
| Create administrative reports |  |  |  |  |
| Manage system components |  |  |  |  |
| Manage security |  |  |  |  |
| Manage instrument controllers |  |  |  |  |
| Unlock and locked UI | × | × | × |  |
| E- Signature Sign Data Files | × | × | × |  |
| E- Signature Revoke | × | × | × |  |
| Save method |  |  |  |  |
| Edit method properties |  |  |  |  |
| Open method |  |  |  |  |
| Instrument Setup | × |  |  |  |
| Integration Events |  |  |  |  |
| Peaks Groups |  |  |  |  |
| Advanced Parameters |  |  |  |  |
| Custom Reports |  |  |  |  |
| System Suitability |  |  |  |  |
| Review Calibration |  |  |  |  |
| Calibrate |  |  |  |  |
| Edit Running Method |  |  |  |  |
| Update Master Method |  |  |  |  |
| Save Data |  |  |  |  |
| Open Data |  |  |  |  |
| Edit Properties |  |  |  |  |
| Manual Integration Fixes |  |  |  |  |
| Open Sequence |  |  |  |  |
| Sequence Save |  |  |  |  |
| Process Sequence |  |  |  |  |
| Sequence Properties |  |  |  |  |
| Edit Any Running Sequence |  |  |  |  |
| Edit Own Running Sequence |  |  |  |  |
| Open Sample Prep |  |  |  |  |
| Save Sample Prep |  |  |  |  |
| Edit Sample Prep Properties |  |  |  |  |
| Edit Running Sample Prep |  |  |  |  |
| Update Master Sample Prep |  |  |  |  |
| Preview Run |  |  |  |  |
| Single Run |  |  |  |  |
| Sequence Run |  |  |  |  |
| Print Setup |  |  |  |  |
| Manual Control (idle only) |  |  |  |  |
| Manual Control |  |  |  |  |
| Monitor All Data |  |  |  |  |
| Abort Any Run | × | × | × |  |
| Add Standard Report Template |  |  |  |  |
| Open Advanced/Intelligent Report |  |  |  |  |
| Save Advanced/ Intelligent Report |  |  |  |  |
| Lock/ unlock report template items |  |  |  |  |

    - Everything privileges:

All privileges

    - System administrator privileges:

    - Instrument administrator privileges:

    - Project Administrator privileges:

    - Instrument User privileges:

    - EZChrom Analyst

  - Security policy:

    - Minimum password length					: 6

    - Password expiration period (days)				: 90

    - Maximum unsuccessful login attempts before locking account	: 5

    - Account lock time (minutes)					: 10

    - In activity time before locking the application (minutes)	: 0

    - Password shall preferably be alphanumerical (combination of alphabets and numbers).

    - Each user at first time login shall change their password and should not be disclosed to others.

  - User ID creation:

    - User ID must be between 5 characters.

    - User ID must be created with the employee ID Number along with “D” for QC personnel.

e.g..: DXXXX

Here:

“D” refers Discovery and “XXXX” refers Employee ID No.

    - When received the Use ID requisition form QC to QA, the admin of software will create the user ID as per requisition.

    - Allot the role membership as per user level.

    - If existing chemist/Analyst will revise the job responsibilities then his/him allot role membership also will be revise.

    - User ID for Administrator is admin/Admin.

    - Software admin was QA

- FORMATS / ANNEXURE(S):

  - Instrument User ID requisition form	: QC053-FM073

  - List of Users				: QC053-FM074

- CHANGE HISTORY:

| Revision No. | Effective Date | Details of Revision | Ref CCF No. |
| --- | --- | --- | --- |
| 00 | 02.06.2017 | New SOP Introduced and separately prepared audit trail SOP, SOP No. SOP-QC-039-02 | CCF/GEN/ 17015 |